APPLICATION PACKET FOR:

Water & Sewer Will Serve

# Applicant Must Receive A Water & Sewer Will Serve Letter

# And

# An Architectural Review Approval Letter From TRI Center

# Prior To Obtaining Their Building Permit From Storey County.

Grading Only permits require no approvals from TRI Center.

# Items required for water/sewer will serve letter review:

1._________TRI Water and Sewer Service Application and Agreement.

2._________2 sets of wet stamped civil drawings.

3._________2 sets of landscape plans.

4._________1 set of mechanical/plumbing plans showing all plumbing fixtures.

5._________Plan check fees  $500 dollars. Made payable to TRI Water and Sewer Company.

6._________Inspection deposit $1000 dollars. Made payable to TRI Water and Sewer Company.

7._________TRI Water Use Calculation Sheet completed by registered engineer.

8._________Sewer Pretreatment Checklist.

9._________Parcel Map

Items required after review & prior to release of water/sewer will serve:

10._________Additional water rights payment receipt (if required).

11._________Sewer connection fees as calculated on TRI Water Use Calculation Sheet.

Made payable to TRI GID.

12._________Water connection fee as calculated on TRI Water Use Calculation Sheet.

Made payable to TRI GID.

Submit completed applications to:

Vincent Griffith

Tahoe-Reno Industrial Center Water & Sewer Co.

c/o Reno Engineering Corporation

80 West 1st St. Suite A

Reno Nevada 89501

Phone: (775) 852-5700

Fax: (775) 852-5707

Vince@recnv.com

# TRI GENERAL IMPROVEMENT DISTRICT

80 West 1st St. Ste. B

Reno, NV 89501

## Water And Sewer Service Application And Agreement

TRI General Improvement District is hereby requested by the undersigned Applicant and Owner to furnish water and sewer service.  In consideration for such service, Applicant and Owner represent and agree as follows; (1) All services and charges are governed by the Rules, Regulations And Rates Of The TRI General Improvement District (“Rules”) and may be modified from time to time, and Applicant and Owner agree to be bound by and comply with the Rules, which are incorporated therein as though fully set forth, and any other rules or policies promulgated by the District.  A copy of the Rules is available upon request for inspection at the District operating office.  (2) The District is hereby granted access to the service premises for service purposes.  (3) All statements of the Applicant and Owner in the application are sworn to be true, and made under penalty of perjury and are subject to appropriate civil and criminal redress, including service termination.  (4) The application, when accepted by the District, constitutes a binding contract between the Applicant and Owner and the District.

Name of Applicant____________________________________________________________________________

Name of Business:___________________________________	Assessor’s Parcel No.:_______________________

Service Address:______________________________________________________________________________

Mailing Address:__________________________________________ 	Phone Number:_____________________

Name of Owner:__________________________________________	Phone Number:_____________________

Owner’s Address:_____________________________________________________________________________

Application Date:___________________________

** Indicate who to bill above

Type of Service Requested:		Domestic Water:

Private Fire Protection:

Sewer:

___________________________________________		_________________________________________

Signature of Applicant					Signature of Owner

Title:______________________________________		Title:____________________________________

### FOR OFFICE USE ONLY

District Acceptance Date:_____________________	Service Area:______________________________

Accepted by District:_________________________	Account Number:__________________________

(Signature)

Title:_______________________________________

Amount of Deposit:___________________________		Cash or Check No.____________________

TRI GENERAL IMPROVEMENT DISTRICT

80 West 1st St. Ste. B

Reno, NV 89501

Office (775) 852-5700  Fax (775) 852-5707

Sewer Pretreatment Checklist

Please review the following form.  The Maximum Concentrations correspond the the highest level of constituent that may be discharged into the TRI sewer at any point of connection.  Please sign at bottom of this sheet when finished.

| Constituent | Maximum Concentration | Concentration if Above Maximum |
| --- | --- | --- |
| Arsenic | 0.05 mg/L |  |
| Barium | 4 mg/L |  |
| Boron | 1 mg/L |  |
| Cadmium | 0.01 mg/L |  |
| Chromium | 0.05 mg/L |  |
| Copper | 0.05 mg/L |  |
| Cyanide | 0.23 mg/L |  |
| Iron | 25.0 mg/L |  |
| Lead | 0.3 mg/L |  |
| Manganese | 0.7 mg/L |  |
| Mercury | 0.01 mg/L |  |
| Nickel | 1.80 mg/L |  |
| Selenium | 0.04 mg/L |  |
| Silver | 0.05 mg/L |  |
| TKN | 40.0 mg/L |  |
| Sulfate | 240 mg/L |  |
| Zinc | 1.0 mg/L |  |
| Phenol | .005 mg/L |  |
| Alkali | 430 mg/L |  |
| Chloride | 110 mg/L |  |
| Phosphorus | 8.0 mg/L |  |
| TDS | 500.0 mg/L |  |
| Fluoride | 4.0 mg/L |  |
| Pesticides and Herbicides | Maximum Concentration | Concentration if Above Maximum |
| Total chlorinated hydrocarbons | 0.005 mg/L |  |
| Chlordane | 0.005 mg/L |  |
| Lindane | 0.005 mg/L |  |
| Heptachlor | 0.005 mg/L |  |
| Methoxychlor | 0.005 mg/L |  |
| Toxaphene | 0.005 mg/L |  |
| 2-4D | 0.005 mg/L |  |
| 2-4-5T | 0.005 mg/L |  |
| Parathion | 0.0016 mg/L |  |
| Malathion | 0.004 mg/L |  |
| Guthion | 0.004 mg/L |  |

| Other Constituents | Maximum Concentrations | Concentrarion if Above Maximum |
| --- | --- | --- |
| BOD5 | 240 mg/L |  |
| TSS | 240 mg/L |  |
| PH | 7 – 9 |  |

I have reviewed the above maximum concentration levels and hereby state that the discharge for my development into the TRI sewer contains no constituents in excess of the maximum concentration levels stated above (except those noted in the far right column).

Name:___________________________________________________________________________________________

Title:____________________________________________________________________________________________

Date:____________________________________________________________________________________________

Project:__________________________________________________________________________________________

Address or APN:__________________________________________________________________________________